SPECIFICATION SHEET

SONOSLOT®

acoustic window ventilation - adjustable supply

manufacturer

RENSON Ventilation, IZ 2 Vijverdam, Maalbeekstraat 10, 8790 Waregem – Belgium

tel. +32 (0)56 62 71 11, fax. +32 (0)56 60 28 51, info@renson.be  www.renson.eu

series

self regulating

noise damping

window ventilation

for installation on window frame

types

SONOSLOT® type 275

SONOSLOT® type 375

SONOSLOT® type 475

SONOSLOT® type 700

description

De SONOSLOT® is a sound absorbing, self regulating slotvent kit for installation on the window frame. The SONOSLOT® consists of three parts. The first is a self regulating external slotvent (type 472) for mounting on the outside of the window frame. The second is an internal slotvent (type 787AK) for mounting on the inside of the window frame. The third is a sound absorbing baffle which is placed in the milled slot in the window frame.

The extruded aluminium internal slotvent contains acoustic foam to prevent condensation on the inside vent and to provide a good seal when closed. The internal flap can be adjusted by hand (continuous adjustment) and is operated using the endcaps. The aluminium internal flap regulates the airflow. When open, it deflects the airflow upwards to prevent direct draughts.

The extruded aluminium external slotvent consists of one profile with 3.9 x 10.7 mm perforations to let the air through and act as an insect screen. To prevent draughts at different wind speeds, a self regulating plastic flap is fitted in the inlet, making the vent self regulating. This maintenance-free flap reacts automatically to pressure changes/wind strengths and cannot be operated by the user.

Plastic endcaps cover the ends of the aluminium profiles. The SONOSLOT® is attached to the window frame by fastening these endcaps. The screws are hidden by caps and cannot be seen after installation.

It is recommended to insert silicone between the external slotvent and the window frame to guarantee a good water seal. There is a special groove for this in the external slotvent.

The Sonoslot® is suitable for all window depths, can be used on all types of window frames: timber, uPVC or aluminium, and is ideal for renovations or new builds.

The noise-damping baffle is made of sound absorbing foam a standard 70 mm thick but can easily be adapted to suit different window frame depths. It can be shortened (just cut a piece off) for shallower window frames; additional baffles can be added for deeper frames. These noise-damping baffles have 10 mm diameter holes to let the air through.

The SONOSLOT® can be finished in satin anodising (E6/EV1) or powder-coated in RAL 9010, RAL 9005 and RAL 1247 to match the window frame. The endcaps are finished in white (RAL 9010) or black (E6/EV1, RAL 9005, RAL 1247).

materialS & finish

Internal and external profile: AlMgSi 0.5 aluminium

Finish: Satin (E6/EV1-SAA) anodising (20 micron) or powder-coating (60-70 micron) in RAL 9010, RAL 9005 or RAL 1247

Endcaps: PP (colour-fast, weather- and UV-resistant)

Endcap colours: white (RAL 9010), black (E6/EV1,RAL 9005, RAL 1247)

Noise-damping material: absorbent plastic foam

dimensions

Glass reduction: 	0 mm

Internal slot height:	33.5 mm

External slot height:	35 mm

Internal slot length:	275, 375, 475, 700 mm (depending on type)

External slot length:	275, 375, 475, 700 mm (depending on type)

Acoustic foam depth:	70 mm

Slot height:		16 mm

Slot length:	245 mm (type 275), 2x 163 mm (with 19 mm land) (type 375), 2x 211 mm (with 20 mm land) (type 475), 3x 211 mm (with 2x 18.5 mm land) (type 700)

control options

Manual operation, continuous adjustment

Technical specifications

SONOSLOT® 275

Airflow:

- Q at 1 Pa: 		3,6 m³/h (1,0 l/s)

- Q at 2 Pa: 		5,0 m³/h (1,4 l/s)

- Equivalent area: 	1273 mm²/m

Sound reduction Dn,e,w (C;Ctr):

- In open position:	38 (0;0) dB

- In closed position: 	n.p.d.

Self-regulation class: 		self regulating

U-value: 			1,4 W/m²K

Watertightness up to: 		650 Pa (in closed position)

Watertightness up to: 		50 Pa (in open position)

Airflow leakage at 50 Pa:	<15% (in closed position)

SONOSLOT® 375

Airflow:

- Q at 1 Pa: 		4,5 m³/h (1,3 l/s)

- Q at 2 Pa: 		6,2 m³/h (1,7 l/s)

- Equivalent area: 	1607 mm²/m

Air noise insulation Dn,e,w (C;Ctr):

- In open position:	37 (0;0) dB

- In closed position: 	n.p.d.

Self-regulation class: 		self regulating

U-value: 			1,4 W/m²K

Watertightness up to: 		650 Pa (in closed position)

Watertightness up to: 		50 Pa (in open position)

Airflow leakage at 50 Pa:	<15% (in closed position)

SONOSLOT® 475

Airflow:

- Q at 1 Pa: 		6,0 m³/h (1,7 l/s)

- Q at 2 Pa: 		8,3 m³/h (2,3 l/s)

- Equivalent area: 	2121 mm²/m

Sound reduction Dn,e,w (C;Ctr):

- In open position:	36 (0;0) dB

- In closed position: 	n.p.d.

Self-regulation class: 		self regulating

U-value: 			1,4 W/m²K

Watertightness up to: 		650 Pa (in closed position)

Watertightness up to: 		50 Pa (in open position)

Airflow leakage at 50 Pa:	<15% (in closed position)

SONOSLOT® 700

Airflow:

- Q at 1 Pa: 		9,0 m³/h (2,5 l/s)

- Q at 2 Pa: 		12,4 m³/h (3,4 l/s)

- Equivalent area: 	3181 mm²/m

Sound reduction Dn,e,w (C;Ctr):

- In open position:	34 (0;0) dB

- In closed position: 	n.p.d.

Self-regulation class: 		self regulating

U-value: 			1,4 W/m²K

Watertightness up to: 		650 Pa (in closed position)

Watertightness up to: 		50 Pa (in open position)

Airflow leakage at 50 Pa:	<15% (in closed position)

standards

This product is manufactured according to, complies with and/or has been tested according to:

EN ISO 140-10

EN ISO 717-1

EN 1026

EN 1027

EN 13141-1

EN 12020-2

EN AW 6063 T66

EN 10077-2

DIN 16491