## Specifications sheet

Material
» Units are assembled from extruded sections of aluminium Al Mg Si 0,5

Finishing
» Brute aluminium
» Natural anodised: 12 micron

Description
» System consisting of aluminium blades and clip profiles with a thickness of 11mm and a length of 200 mm.
» 12 bars are clipped onto the profile at 9,5 mm distance.
» The flat Z-frame profile is fixed by means of special corner pieces.
» Free area: 58%
» Total height of the grille: 21 mm

Applications
» Grille for heating.